## KIDS KIT LIST
Red Bag
Pouch 1 Airway/ Breathing
Facemasks | 0 | 1 | B6
| 1 | 1 | B7
| 2 | 1 | B8
| 3 | 1 | B9
| 4 | 1 | B10
| 5 | 1 | B11
Guedel Airways | 000.. | 1 | A33
| 00.. | 1 | A33
| 0 | 1 | A33
| 1 | 1 | A33
| 2 | 1 | A33
| 3 | 1 | A33
| 4 | 1 | A33
Emergency trache set |  | 1 | C8
HMEF's | Neonatal | 2 | B39
| Paediatric | 2 | B40
| Adult | 1 | B41
| Neo-Breathe Easy | 1 | B42
Cuff Manometer |  | 1
Pouch 2 Intubation/Tubes/Blades
Laryngoscopes | Small | 1 | A19
| Large | 1 | A19
Magill Forceps | Child | 1 | A18
| Infant | 1 | A17
Elastoplast Tape |  | 1 | D34
Blade | Miller 0 | 1 | A19
| Miller 1 | 1 | A19
| Mac 1 | 1 | A19
| Mac 2 | 1 | A19
| Mac 3 | 1 | A19
| Mac 4 | 1 | A19
Yankaeur | Small | 1 | A36
10ml Syringe |  | 1 | C34
Uncuffed ETT | 2 | 1 | A1
Uncuffed ETT | 2.5 | 1 | A1
Uncuffed ETT | 3 | 1 | A2
Uncuffed ETT | 3.5 | 1 | A2
Uncuffed ETT | 4 | 1 | A3
Uncuffed ETT | 4.5 | 1 | A4
Uncuffed ETT | 5 | 1 | A5
Cuffed ETT | 3.0. | 1 | A6
Cuffed ETT | 3.5 | 1 | A7
Cuffed ETT | 4.0. | 1 | A8
Cuffed ETT | 4.5 | 1 | A9
Cuffed ETT | 5.0. | 1 | A10
Cuffed ETT | 5.5 | 1 | A11
Cuffed ETT | 6.0. | 1 | A12
Cuffed ETT | 6.5 | 1 | A13
Cuffed ETT | 7.0. | 1 | A14
Cuffed ETT | 7.5 | 1 | A17
LMA | 1.0. | 1 | A22
LMA | 1.5 | 1 | A22
LMA | 2.0. | 1 | A24
LMA | 2.5 | 1 | A24
LMA | 3.0. | 1 | A25
Stylets | Size 2 | 1 | A34
Stylets | Size 4 | 1 | A34
Stylets | Size 5 | 1 | A34
Pouch 3 O2 Masks/Nebulisers
Green Bubble tubing |  | 1 Length | B3
Nebuliser Acorn |  | 1 | A24
T-Piece Connector |  | 1 | B21
Drug Labels
Pouch 4 Central Lines
Leaderflexes | 22g x 60mm | 2 | C9
Leaderflexes | 22g x 80mm | 2 | C10
Leaderflexes | 22g x 200mm | 2 | C11
Baby wire | 0.012 x 18cm | 2 | C23
Central line | 4.5Fr x 6cm | 1 | C7
Central line | 4.5Fr x 125cm | 1 | C6
Sonosite probe cover |  | 2 | C16
Chloraprep |  | 1 | C21
3.0 Sucture |  | 2 | E4
Biopatch |  | 2 | E21
24g Arterial Lines |  | 2 | C12
Pouch 5 ARTERIAL
ART/CVP Invasive Leads |  | 2
Heparin saline bag |  | 1 | D28
60ml luer-lock syringe |  | 1 | C23
White bungs |  | 2 | C18
Dispensing pins |  | 1 | C20
Transducer set |  | 2 | D22
200 cm lines |  | 1 | C15
Labels ART/CVP Stickers |  | 1 | C22
Baby wire | 0.012 x 18cm | 2 | C23
POUCH 6 Cadiovascular
200 cm lines |  | 2 | C15
Braun space line |  | 1 | C13
3 way taps |  | 4 | C17
Venflons | Pink | 2 | D35
| Blue | 2 | D35
| Green | 2 | D36
| Grey | 2 | D36
Neoflons |  | 4 | D36
Jelcos | Blue | 4 | D36
| Yellow | 4 | D36
| Pink | 4 | D36
| Green | 2 | D36
Teddybears |  | 2 | D34
Syringes | 50ml | 2 | C23
| 20ml | 2 | C33
| 10ml | 2 | C33
| 5ml | 2 | C34
| 2ml | 2 | C35
| 1ml | 2 | C37
Needles | Green/ Red | 2 | C33
Dispensing pins |  | 1 | C20
Alco wipes |  | 2 | C26
10cm Lines/ Canla Extentions |  | 2 | C28
Urine catheters | Size 6fr | 1 | C24
| 8fr | 1 | C24
Dressing pack |  | 1 | C19
Catheter bag |  | 1 | C25
Aquagel |  | 1
Suction Catheters | Size 5 | 2 | A34
POUCH 7 MONITORING
ECG dots |  | 3 | D6
Neo ECG |  | 2 | D6
Sats probes | Orange | 1 | D13
| Purple | 1 | D13
Temperature probes | Size 9fr 12fr | 1 | D7 + D8
Skin temp probes |  | 2 | D16
Pentorch |  | 1 | D40
End tidal | Viamed <3kg | 1 | D10
End tidal | Yellow | 1 | D11
End tidal | Orange | 1 | D12
Neo BP cuffs | Size 1-5 | 1 | D1-5
Non disposable BP cuffs | Size 1-4 | 1 | D1-5
Stethescope |  | 1 | A27
Paed finger probe |  | 1
BP lead extension | Neo | 1
ECG lead |  | 1
Pouch 8 EZ IO POUCH
EZ IO driver |  | 1
Stabiliser dressings |  | 2 | C29
15mm/15G needle |  | 2 | C28
25mm/15G needle |  | 2 | C28
IO needle 16G |  | 1 | C29
IO needle 18G |  | 1 | C29
3 way taps |  | 2 | C17
10cm lines |  | 2 | C28
Pouch 9 Nitric
Injector module
Hamilton Neonatal Pack |  |  | B15
Elbow 22F-22M |  | 1
Patient gas sample line |  | 1
NO injector tube |  | 1
Water separator cartridge |  | 1
Hamilton Adult pack |  |  | B15
Elbow 22F-22M |  | 1
Straight conector 22M-22M-15F |  | 1
Patient gas sample line |  | 1
Smoothbore breathing system limb 0.3m |  | 1
NO injector tube |  | 1
Water separator cartridge |  | 1
Pouch 10 Enteral
Purple syringes | 60ml and 10 ml | 1 | C39+C38
NG tubes | Size 5 | 1 | C41
| 6 | 1 | C42
| 8 | 1 | C43
Bile bag |  | 1 | C45
PH strips |  |  | C40
Loose in bag
SUCTION CATHETERS | SIZE 6 | 2 | A34
SUCTION CATHETERS | SIZE 8 | 2 | A34
SUCTION CATHETERS | SIZE 10 | 2 | A34
SUCTION CATHETERS | SIZE 12 | 2 | A34
BOUGIES | SIZE 5 | 1 | A34
BOUGIES | SIZE 10 | 1 | A34
BOUGIES | SIZE 15 | 1 | A34
Front pocket
CVL insertion pack |  | 1 | C47
Pouch 13 Fluid Pouch
10% Glucose | 500ml bag | 1 | D31
Sodium Chloride 3% | 500ml bag | 1 | D30
Plasmlyte | 500ml bag | 1 | D26
0.9% Sodium Chloride | 500ml bag | 1 | D25
Pouch 14 Bagging Circuits
T-Piece | 0.5 Litre | 1 | Wall 5
T-Piece | 1 Litre | 1 | Wall 5
T-Piece | 2 Litre | 1 | Wall 5
Information Folder/ Spare paperwork/ Drug labels |  | 1
Green Bag
Main Pocket
Drugs bag |  | 1
Glideoscope Go
Sonosite probe pouch |  | 1
Sonocite |  | 1
Sonosite cable |  | 1
T-Piece
Ventilator Circuit
Front Pouch
EPOC |  | 1
Epoc Pouch |  | 1
EPOC Cartridges |  | 10 | D37
Capilary tubes |  | 1 Box | D37
Neonatal Lancets |  | 4 | D37
Paeds Lancets |  | 4 | D37
Monitoring Pouch
ECG Dots | Patient Specific | 1 | D6
SATS | Patient Specific | 1 | D13
BP Cuff | Patient Specific | 1 | D1-5
Skin Temp probe | Patient Specific | 1 | D16
Central temp probe | Patient Specific | 1 | D7+D8
ET CO2 | Patient Specific | 1 | D10-12
Airway Pouch
Scissors | Patient Specific | 1 | D40
Elastoplast tape | Patient Specific | 1 | D40
10ml Syringe | Patient Specific | 1 | C33
Sleek tape | Patient Specific | 1 | D40
Laryngoscope handle | Small or Large | 1 | A19
Laryngoscope blade | Patient Specific | 1 | A19
ET Tube | Patient Specific | 2 | A1-A17
LMA or igel | Patient Specific | 1 | A22-A25
Magill Forceps | Infant or Child | 1 | A17-A18
Facemask | Patient Specific | 2 | B6-B11
Guedel Airway | Patient Specific | 2 | A33
HMEF's | Patient Specific | 2 | B39-B41
Neo-breath-easy | If pt < 5 kg | 1 | B42
Inline Suction or catheters | Patient Specific | 1 | A34
KIDS Red Ambulance Bag
POUCH 1 CPAP/NIV/ Breathing Filters
Baby Flow CPAP Circuit |  | 1 | B16
Hats | S/M/L |  | B44
Nasal Masks | S/M/L |  | B44
Nasal Prongs | S/M/L |  | B44
Hat tie tapes (white velcro) |  | 2 | B44
Swivel Elbow |  | 1 | B21
H Straps |  | 1 | B17
Tape Measure |  | 1 | B44
HMEF NEO |  | 1 | B39
HMEF PAED |  | 1 | B40
HMEF Adult |  | 1 | B41
Neo-Breathe Easy Filter |  | 1 | B42
Pouch 2 High Flow Bag
Water bottles 100ml |  | 2 | D30
Grey temperature wire (blue end) |  | 1
Grey Heater wire (Yellow end) |  | 1
Premature Nasal Cannula (Red) | OPT312 | 1 | B32
Neonatal Nasal Cannula (Yellow) | OPT314 | 1 | B33
Infant Nasal Cannula (Purple) | OPT316 | 1 | B34
Paediatric Nasal Cannula (Green) | OPT318 | 1 | B35
Adult Nasal Cannula ( White) | OPT942 | 1 | B22
Non-disposible valves | Light Blue | 1
Non-disposible valves | Dark Blue | 1
Loose in Bag
Hamilton Neonatal Pack |  |  | B15
Hamilton Adult pack |  |  | B15
Large Hamilton Circuit |  | 1 | Wall 6
Small Hamilton Circuit |  | 1 | Wall 5
Babypc Circuit |  | 1 | Wall 5
Large Hamilton Airvo Circuit |  | 1 | Wall 7
Small Hamilton Airvo Circuit |  | 1 | Wall 8
Humidifer base |  | 1
Pouch 3 Circulation/ CVL/ Arterial
Transducer set |  | 1 | D22
Braun space line |  | 1 | C13
200cm line |  | 2 | C15
Neoflons |  | 2 | D36
Blue jelco |  | 4 | D36
Yellow jelco |  | 4 | D36
Green Needle/ Red Needle |  | 2 of each | C33
IV Syringe 50ml/ 20ml/ 10ml/ 5ml/ 2ml/ 1ml |  | 1 of each | C33-C37
Leaderflexes | 22g x 60mm | 1 | C9
Leaderflexes | 22g x 80mm | 1 | C10
Leaderflexes | 22g x 200mm | 1 | C11
Central line | 4.5Fr x 6cm | 1 | C7
Central line | 4.5Fr x 13cm | 1 | C6
POUCH 5 Chest drains
Flutter valves |  | 2 | C4
Sleek tape |  | 1 | D34
Blue clamps |  | 2
Vygon conical/female luer-lok port |  | 2 | C4
3 way tap |  | 2 | C17
Vygon Luer-Lok Male/Male connector |  | 2 | C4
Suction tubing |  | 2 | A32
Blades | 11 | 1 | E3
| 15 | 1 | E3
3.0 suture |  | 2 | E4
Chloraprep |  | 2
Sterile gloves | Size 6.0 | 1 | E25
| Size 6.5 | 1 | E25
| Size 7.0. | 1 | E25
| Size 7.5 | 1 | E25
Blood giving set |  | 1 | C14
Loose in Bag
Thal- Quick Chest drain | Size 8 | 1 | D17
Thal- Quick Chest drain | Size 10 | 1 | D17
Thal- Quick Chest drain | Size 12 | 1 | D17
Trolley
Emergency Fluid Pouch
0.9% Sodium Chloride | 500ml | 1 | D25
IV Syringe | 50ml | 1 | C23
3 way tap |  | 1 | C17
200cm Line |  | 1 | C15
Dispensing Pin |  | 1 | C20
Ambu bag Pouch
Large Ambu Bag |  | 1 | A38
Small Ambu Bag |  | 1 | A38
Stethoscope |  | 1 | A27

## Checklist
Kit Number …………………
Date Checked…………………………….
Intitials…….…./…..……
RED BAG
Main Pocket
Pouch 1 Airway/ Breathing
Pouch 2 Intubation/Tubes/Blades
Pouch 3 O2 Masks/Nebulisers
Pouch 4 Central Lines
Pouch 5 Arterial
Pouch 6 Cadiovasular Catherisation
Pouch 7 Monitoring
Pouch 8 EZ IO Pouch
Pouch 9 Nitric
Pouch 10 Enteral
Pouch 11 Filters
Front Pocket
Loose in Pocket |  | 1
Fluid x4
Bagging Circuits 0.5L 1L 2L
Information folder
GREEN BAG
Main Pocket
Sonocite
Sonocite Pouch
Sonocite Power Lead
T-Piece
Ventilator Circuit
Drugs Bag
Glieoscope Go
Front Pocket
EPOC |  | 1
EPOC Box |  | 1
Monitoring Pouch
ECG | Patient Specific | 1
SATS | Patient Specific | 1
BP Cuff | Patient Specific | 1
Skin Temp probe | Patient Specific | 1
Central temp probe | Patient Specific | 1
ET CO2 | Patient Specific | 1
BP extension | 1
Airway Pouch
Scissors | Patient Specific | 1 | D36
Elastoplast tape | Patient Specific | 1 | D33
10ml Syringe | Patient Specific | 1 | C30
Sleek tape | Patient Specific | 1 | D33
Laryngoscope handle | Small or Large | 1 | A9
Laryngoscope blade | Patient Specific | 1 | A6
ET Tube | Patient Specific | 2 | A4
LMA or igel | Patient Specific | 1 | A11
Magill Forceps | Infant or Child | 1 | A5
Facemask | Patient Specific | 2 | B7
Guedel Airway | Patient Specific | 2 | A14
HMEF's | Patient Specific | 2 | B22
Neo-breath-easy | If pt < 5 kg | 1 | B21
Inline Suction or catheters | Patient Specific | 1 | B3
Trolley
Ambu bag Pouch
Emergency Fluid Pouch