## Sheet3
Gas Consumption Calculator
Basic data
|  | Patient weight (kgs) | 9
|  | Oxygen % (FiO2) | 65
|  | Journey Time (mins) | 45
Invasive ventilation |  | Non-invasive ventilation |  | Inhaled Nitric Oxide
Select ventilation mode | Hamilton ≥8kg | Select ventilation mode | Any High flow | Cylinder Pressure (psi) | 1000
Enter ventilator rate (breaths/min) | 60 | Enter set flow (L/min) | 10 | Desired dose of inhaled Nitric Oxide (ppm) | 20
Enter tidal volume (ml/Kg) | 5 | O2 Flow (L/min) | 5.5752 | Cylinder volume (L) | 180
ExpMinVol (L/min) | 2.7 | Air Flow (L/min) | 4.4248 | Total ventilator flow (L/min) | 10
O2 Flow (L/min) | 3.7354 | Total O2 Required (L) | 501.7699 | iNOmax Flow | 0.25641
Air Flow (L/min) | 0 | Total Air Required (L) | 398.2301 | Cyinder duration (minutes) | 702
Total O2 Required (L) | 336.1858 |  |  | Safety Check (Duration ≥ Transfer Time?) | Safe